|  |  |
| --- | --- |
| **NAME OF FOLDER/ PHOTO FILE** | **SHORTCUT (if name of folder/photo**  **is too long and Misrosoft doesn’t want to accept it)** |
| **ACCOMODATION** | |
| A.C.S 08.1 ventilation - panel | A.C.S 08.1 vent - panel |
| A.C.S 12.1 ventilation - panel | A.C.S 12.1 vent - panel |
| Garbage room supply fan air heater dk3 - panel | Garb supp fan air heat dk3 - panel |
| Provision compressor - panel | Prov compressor - panel |
| SR 05.0.01 - panel | SR 05.0.01 - panel |
| SR 05.0.02 - panel | SR 05.0.02 - panel |
| SR 08.1.01 - panel | SR 08.1.01 - panel |
| SR 08.1.01 sini filters - panel | SR 08.1.01 sini filters - panel |
| SR 08.1.02 - panel | SR 08.1.02 - panel |
| SR 08.1.02 sini filters - panel | SR 08.1.02 sini filters - panel |
| SR 08.1.03 - panel | SR 08.1.03 - panel |
| SR 08.1.03 sini filers - panel | SR 08.1.03 sini filers - panel |
| SR 10.2.01 - panel | SR 10.2.01 - panel |
| SR 10.2.01 sini filter - panel | SR 10.2.01 sini filter - panel |
| SR 10.2.02 - panel | SR 10.2.02 - panel |
| SR 12.1.01 - panel | SR 12.1.01 - panel |
| SR 12.1.02 - panel | SR 12.1.02 - panel |
| SR 12.1.04 - panel | SR 12.1.04 - panel |
| SR 13.1.01 - panel | SR 13.1.01 - panel |
| SR 13.1.02 - panel | SR 13.1.02 - panel |
| SR 13.1.03A - panel | SR 13.1.03A - panel |
| SR 13.1.03B - panel | SR 13.1.03B - panel |
| SR 13.1.04 - panel | SR 13.1.04 - panel |
| SR 13.1.06 - panel | SR 13.1.06 - panel |
| SR 13.1.07 - panel | SR 13.1.07 - panel |
| SR 13.1.08 - panel | SR 13.1.08 - panel |
| SR 13.1.09 - panel | SR 13.1.09 - panel |
| SR 13.1.10 - panel | SR 13.1.10 - panel |
| **BOW** | |
| AU007UE - panel | AU007UE - panel |
| Bow thruster treatment - panel | BT treat - panel |
| Chilled pre heating AC system pump no1 - panel | Chill preheat AC sys pump no1 - panel |
| Chilled pre heating AC system pump no2 - panel | Chill preheat AC sys pump no2 - panel |
| FWD garage heating system - panel | FWD garage heat sys - panel |
| Grey water pump no1 - panel | Grey W pump no1 - panel |
| Grey water pump no2 - panel | Grey W pump no2 - panel |
| Hot water AC system pump no1 - panel | HW AC sys pump no1 - panel |
| Hot water AC system pump no2 - panel | HW AC sys pump no2 - panel |
| Potable water pack - panel | Potable W pack - panel |
| SR 02.1.01 - panel | SR 02.1.01 - panel |
| SR 02.1.02 - panel | SR 02.1.02 - panel |
| SR 02.1.03 - Bow thruster panel | SR 02.1.03 - BT panel |
| SR 02.1.04A - panel | SR 02.1.04A - panel |
| SR 02.1.04B - panel | SR 02.1.04B - panel |
| **DIESEL ENGINE ROOM** | |
| Diesel generator no1 - alternator | DG no1 - alternator |
| Diesel generator no1 - engine | DG no1 - engine |
| Diesel generator no1 - exhaust manifold | DG no1 - exhaust manifold |
| Diesel generator no1 - exhaust line | DG no1 - exhaust line |
| Diesel generator no1 - HT pump | DG no1 - HT pump |
| Diesel generator no1 - LT pump | DG no1 - LT pump |
| Diesel generator no1 - turbocharger | DG no1 - turbocharger |
| Diesel generator no2 - alternator | DG no2 - alternator |
| Diesel generator no2 - engine | DG no2 - engine |
| Diesel generator no2 - exhaust manifold | DG no2 - exhaust manifold |
| Diesel generator no2 - exhaust line | DG no2 - exhaust line |
| Diesel generator no2 - HT pump | DG no2 - HT pump |
| Diesel generator no2 - LT pump | DG no2 - LT pump |
| Diesel generator no2 - turbocharger | DG no2 - turbocharger |
| Diesel generator no3 - alternator | DG no3 - alternator |
| Diesel generator no3 - engine | DG no3 - engine |
| Diesel generator no3 - exhaust manifold | DG no3 - exhaust manifold |
| Diesel generator no3 - exhaust line | DG no3 - exhaust line |
| Diesel generator no3 - HT pump | DG no3 - HT pump |
| Diesel generator no3 - LT pump | DG no3 - LT pump |
| Diesel generator no3 - turbocharger | DG no3 - turbocharger |
| **ENGINE ROOM** | |
| Gearbox PS | Gearbox PS |
| Gearbox SB | Gearbox SB |
| Main engine no1 - engine | ME no1 - engine |
| Main engine no1 - exhaust manifold | ME no1 - exhaust manifold |
| Main engine no1 - exhaust line | ME no1 - exhaust line |
| Main engine no1 - turbocharger | ME no1 - turbocharger |
| Main engine no2 - engine | ME no2 - engine |
| Main engine no2 - exhaust manifold | ME no2 - exhaust manifold |
| Main engine no2 - exhaust line | ME no2 - exhaust line |
| Main engine no2 - turbocharger | ME no2 - turbocharger |
| Main engine no3 - engine | ME no3 - engine |
| Main engine no3 - exhaust | ME no3 - exhaust manifold |
| Main engine no3 - exhaust line | ME no3 - exhaust line |
| Main engine no3 - turbocharger | ME no3 - turbocharger |
| Main engine no4 - engine | ME no4 - engine |
| Main engine no4 - exhaust | ME no4 - exhaust manifolf |
| Main engine no4 - exhaust line | ME no4 - exhaust line |
| Main engine no4 - turbocharger | ME no4 - turbocharger |
| Middle bearing no1 PS | Middle bearing no1 PS |
| Middle bearing no1 SB | Middle bearing no1 SB |
| Middle bearing no2 PS | Middle bearing no2 PS |
| Middle bearing no2 SB | Middle bearing no2 SB |
| Shaft generator PS | Shaft gen PS |
| Shaft generator PS - DE bearing | Shaft gen PS - DE bearing |
| Shaft generator PS - NDE bearing | Shaft gen PS - NDE bearing |
| Shaft generator SB | Shaft gen SB |
| Shaft generator SB - DE bearing | Shaft gen SB - DE bearing |
| Shaft generator SB - NDE bearing | Shaft gen SB - NDE bearing |
| Stern tube PS | Stern tube PS |
| Stern tube SB | Stern tube SB |
| **ENGINE CONTROL ROOM** | |
| 230VAC 1PH Distribution PS - panel | 230VAC 1PH Dist PS - panel |
| 230VAC 1PH Distribution SB - panel | 230VAC 1PH Dist SB - panel |
| 230VAC 3Ph Distribution PS - panel | 230VAC 3Ph Dist PS - panel |
| 230VAC 3Ph Distribution SB - panel | 230VAC 3Ph Dist SB - panel |
| 24VDC Distribution PS - panel | 24VDC Dist PS - panel |
| 24VDC Distribution SB - panel | 24VDC Dist SB - panel |
| Inverter & Emergency line PS - panel | Inverter & EM PS - panel |
| Inverter & Emergency line SB - panel | Inverter & EM SB - panel |
| Rectifier PS - panel | Rectifier PS - panel |
| Rectifier SB - panel | Rectifier SB - panel |
| **MAIN SWITCHBOARD ROOM** | |
| C1A back - panel | C1A back - panel |
| C1B back - panel | C1B back - panel |
| C2A back - panel | C2A back - panel |
| C2B back - panel | C2B back - panel |
| C2B front - panel | C2B front - panel |
| C3A back - panel | C3A back - panel |
| C3A front- panel | C3A front- panel |
| C3B back - panel | C3B back - panel |
| C3B front - panel | C3B front - panel |
| C4A back - panel | C4A back - panel |
| C4A front - panel | C4A front - panel |
| C4B back - panel | C4B back - panel |
| C4B front - panel | C4B front - panel |
| C5A back - panel | C5A back - panel |
| C5A front - panel | C5A front - panel |
| C5B back - panel | C5B back - panel |
| C5B front - panel | C5B front - panel |
| C6A back - panel | C6A back - panel |
| C6A front - panel | C6A front - panel |
| C6B back - panel | C6B back - panel |
| C7A back - panel | C7A back - panel |
| C7B back - panel | C7B back - panel |
| SR.02.4.01B - panel | SR.02.4.01B - panel |
| SR.02.4.02B - panel | SR.02.4.02B - panel |
| SR.02.4.03B - panel | SR.02.4.03B - panel |
| SR.02.4.04B - panel | SR.02.4.04B - panel |
| SR.02.4.08B - panel | SR.02.4.08B - panel |

**NOTE:** If measurements were taken by using Fluke camera, remember to name every photo and add the word „photo” and numer of photo after the last word of the name/shortcut presented on this route.

Example:

Main engine no1 – exhaust manifold photo 01

Main engine no1 – exhaust manifold photo 02

Main engine no1 – exhaust manifold photo 03

|  |  |
| --- | --- |
| Shaft generator PS – photo 01 | Shaft gen PS – photo 01 |
| Shaft generator PS – photo 02 | Shaft gen PS – photo 02 |